## Slide 1: AarogyaTwin-X: System Architecture & Data Flow
TECHNICAL ARCHITECTURE
A Local-First, Conformal Telemetry Pipeline with Zero-Leakage & Safety Abstention
VERSION
AarogyaTwin-X Day-3 Production Bundle
RUNTIME
100% local CPU — no GPU cluster required
PRIVACY
Zero cloud egress / HIPAA-safe air-gapped design
TARGET
90% conformal coverage & bounded causal personalization
SYSTEM MISSION
High-throughput, real-time physiological telemetry forecasting with mathematical uncertainty and deterministic safety boundaries.
CORE ARCHITECTURAL TENETS
Zero Cloud Dependency
Local-first FastAPI service guarantees patient privacy.
Causal-in-Time
Future data is strictly unreachable across features and personalization.
Distribution-Free Uncertainty
Split-conformal calibration guarantees 90% finite-sample coverage.
Deterministic Abstention
Refuses to predict when sensor integrity is compromised.

## Slide 2: End-to-End High-Level Data Flow
PIPELINE OVERVIEW
STAGE 1
Telemetry Ingestion
60 patients × 5 days (5-min grid)
CGM, HR, HRV, sleep, steps, meals, static demographics
STAGE 2
Disjoint Partitioning & Safety Gate
36 Train / 6 Tuning / 6 Interval / 12 Test patients
Sensor freshness checker (>15 min = abstain)
STAGE 3
Feature & Causal Engine
Past-only rolling temporal lags
Causal-in-time matured residual tracker
STAGE 4
Multi-Head Inference Core
30 / 60 / 120 min HistGradientBoosting heads
Split-conformal rank band (90% target)
Platt-calibrated logistic event classifier
STAGE 5
Serving & Interactive UI
Joblib model bundle + JSON evidence
FastAPI REST service (:8000)
React 18 / Vite clinician dashboard (:5173)
Zero patient overlap across train / calibration / test
Causal-in-time: past-only features and residuals
Frozen bundle served read-only — no training in API requests

## Slide 3: Telemetry Ingestion & Formal Event Definition
LAYER 1 · INGESTION
Multimodal Sensor Streams
CGM Glucose
5-minute continuous sampling
Cardiovascular
Heart rate (bpm) + heart rate variability (HRV)
Circadian / Behavioral
Sleep duration + accelerometer steps
Nutrition
Meal carbohydrate events (grams)
Static Demographics
Age, sex, BMI, HbA1c, diabetes duration
Clinical Event Ground Truth Contract
Target event: New sustained hyperglycemia (>180 mg/dL)
Confirmation rule: strictly 4 consecutive 5-min readings above 180 mg/dL
Exclusion rule: if the anchor is already >180 mg/dL, no new event is labeled (prevents double-counting)
Missing data: missing future readings are treated as UNKNOWN (excluded), never labeled as negative 0
STRICT MEDICAL EVENT CONTRACT
Event = 1 ⇔ ∀ t ∈ [T+1, T+4], Glucose(t) > 180 mg/dL
given Glucose(T) ≤ 180
288 steps per patient-day
1,440 steps per 5-day trajectory
NaN Missing future window is excluded from scoring — zero negative-imputation bias

## Slide 4: Zero-Leakage Architecture & Causal Personalization
LAYER 2 · LEAKAGE PREVENTION & PERSONALIZATION
PATIENT-DISJOINT COHORT PARTITION · 60 PATIENTS
36
Training patients
Global model fitting
6
Tuning patients
Platt sigmoid & residual shrinkage
6
Interval patients
Split-conformal residual ranks
12
Held-out test patients
Zero contact during training / calibration
12 calibration patients — two disjoint sets
Zero patient overlap. Test patients never select hyperparameters or thresholds.
CAUSAL-IN-TIME ERROR MATURATION TIMELINE
T − 120 min
Earlier forecast's ground truth is observed — its error has matured
T (forecast made)
Adjusted using only matured past errors
T + 120 min
Ground truth observed — this forecast's error is calculated
T + 125 min →
Matured error enters the bounded adaptive residual
Adjustment = clip( α · Mean(Matured_Errors), −30, +30 )
Strict rule: no future leakage — a forecast can never use its own target error.

## Slide 5: Multi-Head Inference & Conformal Calibration
LAYER 3 · ML ENGINE
Multi-Horizon Forecast Heads
MODEL
HistGradientBoostingRegressor
INPUT
Past lag vector (t−15m, t−30m, t−60m, slope, meal carbs, sleep)
OUTPUT
3 independent heads @ 30, 60, 120 min
BENEFIT
CPU-friendly, handles missingness natively, sub-10 ms latency
Split-Conformal Uncertainty Core
METHOD
Inductive conformal prediction (residual non-conformity)
COVERAGE TARGET
1 − α = 90%
CALIBRATION WIDTH
Quantile(1 − α, |y − ŷ|) on the calibration-interval cohort
GUARANTEE
Distribution-free finite-sample marginal coverage
Event Risk Classifier
MODEL
Fusion logistic regression (telemetry + static)
POST-PROCESSING
Platt sigmoid probability calibration
PURPOSE
Calibrated probability of a sustained >180 mg/dL event
3
independent horizon heads (30 / 60 / 120 min)
<10 ms
CPU-friendly per-head inference latency
NON-CONFORMITY SCORE
si = |yi − ŷi|, i ∈ Dcalib-interval
CONFORMAL CUTOFF
q̂ = Quantile(⌈(n+1)(1−α)⌉ / n, {si})
⇒ P(yn+1 ∈ [ŷ − q̂, ŷ + q̂]) ≥ 90%
PLATT PROBABILITY CALIBRATION
P̂(Event = 1 | x) = 1 / (1 + exp(A · f(x) + B))
0.024
Brier score
0.135
Log loss
0.023
ECE

## Slide 6: Sensor Quality Gate & Deterministic Abstention
LAYER 4 · SAFETY
Is CGM stream active?
YES
NO
100% abstention
HTTP 200 with predictions.available = false
Is CGM fresh? (age ≤ 15 min)
YES
NO (age > 15 min)
Stale sensor gate
Forecast withheld · warning “CGM data too stale”
Is anchor glucose ≤ 180 mg/dL?
YES
NO (> 180)
Event risk = null
Not estimable — already in episode
FULL INFERENCE
30 / 60 / 120 min heads + calibrated event risk
“A medical system must know what it does not know.”
cgm_age_minutes > 15 ⇒ forecast = [], risk_120m = null, status = abstained
current_glucose > 180 ⇒ risk_120m = null (already above threshold)
missing_fraction_60m > 0.50 ⇒ degraded-signal flag surfaced to clinician
0.3%
abstention rate under natural simulator missingness
100.0%
explicit abstention on 30-minute CGM dropout — zero false guesses

## Slide 7: Local Serving & UI Contract
LAYER 5 · SERVING
FastAPI Local Daemon
Pydantic v2 type contract
127.0.0.1:8000
GET
/api/health
Readiness & artifact state
GET
/api/patients
Held-out test cohort
GET
/api/twin/{id}?step={t}&sensor_dropout={b}
Patient snapshot
POST
/api/twin/{id}/simulate
What-if sandbox
GET
/api/metrics
Audit trail & ECE benchmarks
Artifact provider: loads the frozen joblib bundle — never trains during requests
Localhost REST — zero network / zero external calls
React 18 / Vite Clinician UI
127.0.0.1:5173
TypeScript 5.7 strict schema validation
Recharts high-performance SVG rendering
Replay timeline engine (5-min scrub steps)
Conformal band area shading
Telemetry slope & driver cards
Interactive what-if scenario sandbox
API INTERFACE SPECIFICATION
// GET /api/twin/PT-001?step=7075
{
"status": { "twin": "ready",
"data_quality": "good",
"sensor_dropout": false },
"predictions": { "available": true,
"glucose_30m": 107.2,
"glucose_60m": 104.7,
"glucose_120m": 103.6,
"risk_120m": 0.00,
"interval_coverage_target": 0.90 },
"forecast": [
{ "minutes_ahead": 30,
"glucose": 107.2,
"lower": 92.2, "upper": 122.3 },
{ "minutes_ahead": 60,
"glucose": 104.7,
"lower": 88.7, "upper": 120.8 },
{ "minutes_ahead": 120,
"glucose": 103.6,
"lower": 86.2, "upper": 121.1 }
]
}

## Slide 8: Verification, Reproducibility & Architecture Checklist
VERIFICATION
Automated Test Suite (pytest)
6/6 passing
test_event_label_obeys_strict_threshold
Strict threshold & missing-data assertions
test_temporal_features_are_past_only
Temporal past-only isolation verified
test_probability_calibrator_handles_edge_cases
Calibrator edge cases handled
test_pipeline_persists_reloadable_engine
Conformal calibration reloadability confirmed
test_personalization_ignores_future_observations
Personalization ignores future observations
test_api_exposes_local_contract_and_failure_state
API failure state & contract audited
Hardware & Operational Footprint
COMPUTE
100% CPU-compatible (Intel i5 / Apple M1 or higher)
RAM
Under 500 MB active memory footprint
COLD STARTUP
< 2.5 s to load the bundle and serve
DEPENDENCIES
Standard scientific Python (NumPy, Scikit-learn, FastAPI)
Explicit Non-Claims (Clinical Honesty)
Not a diagnostic device or treatment dosing calculator
Synthetic cohort development evidence only
Drivers are observed context, not causal SHAP explanations
Scenarios are bounded sandbox heuristics, not medical advice
Fully reproducible with seed 2026. Zero network setup required.
PYTHON_BIN=python ./scripts/train.sh --patients 60 --days 5 --seed 2026